## Material fungible
MATERIAL FUNGIBLE PER A INSTRUMENTACIÓ PERKIN ELMER
REFERÈNCIA | DESCRIPCIÓ PRODUCTE | PREU UNITARI (€)
N9300174 | Mercury 1000 µg/ml 10% HNO3 Pure 100mL
B0504035 | THGA Contact Cylinders, 1 Pair
B3000274 | FIMS Hg Filter Repl. for Hg Scrubber
B0066549 | Quartz Window
B0510370 | Cell Body-FIMS
N0770438 | O-Ring Kit for 2000/4000 Injector
N0780437 | O-R ing Kit for Adjustable Torch 8x00
N0776014 | Washer-jaz injector Adapter
N0775220 | Repl. Air Filter for Optima 2000/4000
N3050183 | Lumina Hollow Cathode 2” Lamp – Tl
B3000655 | THGA Std Graphite Tubes w/End Cap. Pk/20
N9300244 | GFAAS Mixed Standard 125mL
B0087056 | Sample cups polyethylene Pk/1000
B3001567 | Sample cups 7 mL Pk/100
N9300281 | Quality Control Std, 21 Elements 125ml
N0781014 | Alumina Injector 2.0 mm ID Optima 8x00
N0776052 | Cyclonic Spray Chamber 2/4/5/7x00
N0780130 | Quartz Torch 1-Slot Optima 8x00
9995098 | Spectrometer Air Filter
N0776200 | Chiller Coolant Mix 30 Plus-Five ½ Gal
N0777707 | MeinhardType K1 Nebulizer
B0129258 | Sample Probe for AS-60/70/71/72/800/900
N3050115 | Lumina Hollow Cathode 2” Lamp – Cd
N0781097 | Copper Tape for Optima 8x00 (50 pcs)
N3050670 | EDL SYS 2 Sb
N3050605 | EDL SYS 2 As
N3050672 | EDL SYS 2 Se
9908587 | Black/Black 0,76 mm i.d. PVC Pk/12
9908585 | Red/Red 1,14 mm i.d. PVC Pk/12
B3140730 | Red/red/red 1,14 mm ID Pharm tub Pk/6
B3140721 | Purple/white/purple 2,79 mm ID Pk/6
N0770358 | GemCone Low-Flow Nebulizer
N0371505 | Nut-PNY2 Capillary Gland
N0770336 | Quick Disconnect Tubing for 2000/4000
B3001770 | Flame Sampling Probe Assembly
- | Despeses enviament