## Taula Resum
LOT | FABRICANT | FAMÍLIA | EQUIPAMENT | QUANTITATS ESTIMADES
Lot 3 | Aruba | Equips | HW Appliance redundat per 50K sessions concurrents (llicències no incloses) | 1
| Gigamon | Equips | Equip TA-200 | 1
|  |  | Equip TA-25 | 1
|  |  | Consola de gestió | 1
|  |  | TAP-M100T | 1
|  |  | PNL-M341T | 1
|  | Òptiques | SFP-532-20P | 1
|  |  | Q28-502 | 1
| Radware | Equips | Alteon Serie 6 Secure | 1
|  |  | Alteon Serie 6 Perform | 1
|  |  | Alteon Serie 5 Secure | 1
|  |  | Alteon Serie 5 Perform | 1
|  |  | DP-X 10–2 | 1
|  |  | DP-X 20-5 | 1
| Vertiv | Equips | Servidor 32 ports | 1
|  |  | Servidor 16 ports | 1
| Infinera | Equips | XASSIS A.1 | 1
|  |  | XASSIS B.1 | 1
|  |  | XASSIS B.2 | 1
|  |  | XASSIS A.2 | 1
|  |  | MATERIAL AMPLIACIÓ A | 1
|  |  | MATERIAL AMPLIACIÓ B | 1
|  |  | MATERIAL AMPLIACIÓ C | 1
|  | Òptiques | ZXS-Q8S4ZZZZ-00 | 1
|  |  | ZXS-QPS4EZZZ-00 | 1
|  | Altres Serveis | AMPLIACIÓ PLATAFORMA DE GESTIO | 1

## Lot 3 - Aruba
EQUIPAMENT | COMPONENT | DESCRIPCIÓ | QUANTITATS
Equips Aruba | R1V82A | Aruba Clearpass C3010 DL360 G10 HW Appliance | 1
| HP7J3E | Aruba 5Y FC NBD Exch CPC3010DL360HWAppl SVC [for R1V82A] | 1

## Lot 3 - Gigamon
EQUIPAMENT | COMPONENT | DESCRIPCIÓ | QUANTITATS
Equip TA-200 | GVS-TAC21 | GigaVUE-TA200 node, 64 100G QSFP28 cages, 2 power supplies, 4 fan trays, AC power; 32 ports | 1
| GSS-FYS-ENH-PSS | Initial Gigamon annual Pass-through Support Type with Enhanced Support Level (8-5,M-F/AHR), boug | 5
| CLS-TAC20 | Advanced Feature License, GigaVUE-TA200, per node | 1
| GSS-FYS-ENH-PSS | Initial Gigamon annual Pass-through Support Type with Enhanced Support Level (8-5,M-F/AHR), boug | 5
Equip TA-25 | GVS-TAX21 | GigaVUE-TA25 node, 8 40G/100G QSFP28 cages + 48 1G/10G/25G SFP28 cages, 2 power suppli | 1
| GSS-FYS-ENH-PSS | Initial Gigamon annual Pass-through Support Type with Enhanced Support Level (8-5,M-F/AHR), boug | 5
| CLS-TAX20 | Advanced Features License, GigaVUE-TA25, per node | 1
| GSS-FYS-ENH-PSS | Initial Gigamon annual Pass-through Support Type with Enhanced Support Level (8-5,M-F/AHR), boug | 5
Consola de gestió | GFM-UPG-10P | GigaVUE-FM Upgrade from the 10-Pack license to the Prime Edition for either Software only or Hard | 1
| GSS-FYS-ENH-PSS | Initial Gigamon annual Pass-through Support Type with Enhanced Support Level (8-5,M-F/AHR), boug | 5
TAP-M100T | TAP-M100T | G-TAP M Series 1/2 RU chassis. Supports up to 3 M Series TAP modules. TAA Compliant. | 1
PNL-M341T | PNL-M341T | G-TAP M Series 40/100Gb Breakout Panel, Multimode, 850nm 50/125um OM5 fiber, 3 MPO Adapte | 1
Òptica 1 | SFP-532-20P | 20 pack of 10Gb SFP+, Multimode SR. Not TAA Compliant. | 1
Òptica 2 | Q28-502 | 100G QSFP28, Multimode SR4. Not TAA Compliant. | 1

## Lot 3 - Radware
EQUIPAMENT | COMPONENT | DESCRIPCIÓ | QUANTITATS
Alteon Serie 6 Secure | 1900120240 | Alteon D-6300M Secure - 60G | 1
| 9150000017 | Alteon 6300M Pluggable QAT card Module - Factory Installed | 1
| 9150000019 | Alteon 6300M Pluggable 4x10G NIC Module - Factory Installed | 2
| 9150000024 | Alteon 6300M, 6300F - Second AC Power Supply - Factory Installed - for ADC | 1
Alteon Serie 6 Perform | 1900120237 | Alteon D-6300M Secure - 60G | 1
| 9150000017 | Alteon 6300M Pluggable QAT card Module - Factory Installed | 1
| 9150000019 | Alteon 6300M Pluggable 4x10G NIC Module - Factory Installed | 2
| 9150000024 | Alteon 6300M, 6300F - Second AC Power Supply - Factory Installed - for ADC | 1
Alteon Serie 5 Secure | 1900160001 | Alteon D-5208S Secure - 6G | 1
| 9060000026 | 10Gbps Pluggable Optics Multimode SR for ADC | 2
| 9103009030 | Alteon 5208 - Second AC Power Supply - Factory Installed - for ADC | 1
Alteon Serie 5 Perform | 1900161001 | Alteon D-5208S Perform - 6G | 1
| 9060000026 | 10Gbps Pluggable Optics Multimode SR for ADC | 2
| 9103009030 | Alteon 5208 - Second AC Power Supply - Factory Installed - for ADC | 1
DP-X 10–2 | 1920070278 | DefensePro X10 - 2G | 1
| 9150000013 | DefensePro X10 / X20 - Pluggable 4x10G-BP SR NIC Module | 1
| 1920070278 | DefensePro X10 - 2G | 1
| 9150000013 | DefensePro X10 / X20 - Pluggable 4x10G-BP SR NIC Module | 1
| 9006000497 | Application Protection Subscription for DefensePro X10 - Factory Installed | 1
| 9006000543 | Network Protection Silver Subscription for DefensePro X10 - 2G | 1
| 9000000327Y1 | Cyber Controller X 10 Gbps attack capacity | 1
| 999450 | Silver Shield Package | 1
DP-X 20-5 | 1920070282 | DefensePro X20 - 5G | 1
| 9150000013 | DefensePro X10 / X20 - Pluggable 4x10G-BP SR NIC Module | 1
| 1920070282 | DefensePro X20 - 5G | 1
| 9150000013 | DefensePro X10 / X20 - Pluggable 4x10G-BP SR NIC Module | 1
| 9006000496 | Application Protection Subscription for DefensePro X20 - Factory Installed | 1
| 9006000525 | Network Protection Silver Subscription for DefensePro X20 - 5G | 1
| 9000000322Y1 | Cyber Controller X 40 Gbps attack capacity | 1
| 999450 | Silver Shield Package | 1
Tots els equipaments inclouen 5 anys de manteniment

## Lot 3 - Vertiv
EQUIPAMENT | COMPONENT | DESCRIPCIÓ | QUANTITATS
Servidor Avocent 32 ports | ACS8032MDAC-404 | 32-Port ACS8000 Console System with dual AC Power Supply and Analog Modem | 1
| 4YGLD-ACS32PT | 4 YR GLD HW Maintenance ACS32PT | 1
Servidor Avocent 16 ports | ACS8016MDAC-404 | 16-Port ACS8000 Console System with dual AC Power Supply and Analog Modem | 1
| 4YGLD-ACS16PT | 4 YR GLD HW Maintenance ACS16PT | 1

## Lot 3 - Infinera
Tipologia | COMPONENT | DESCRIPCIÓ | QUANTITATS
XASSIS A.1 | GLS-G30CHM1G-00 | Low power redesign of CHM1 with encryption support. Supports 100G (QPSK, 7% GFEC), 100G (QPSK, 15% SD FEC) and 200G (8QAM, 200G 15% SD FEC). Interworking with CHM1, CHM1LH, CHM2 and CHM2LH in 100G (QPSK, 15% SD FEC) mode. | 1
| ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 2
| 81.71T-O2PAOHLR-R6 | OFP2 PREAMP OSC HIGH CHANNEL COUNT LR (14-26dB) | 1
| ZXS-O2OMD8B1-00 | OFP2 OMD8 Band 1 | 1
| GLS-G30OCC2Z-00 | Carrier module for OFP2 and SFP format pluggable sub- modules (3xOFP2 cage + 2xSFP cage) SFP cages are currently not used | 1
| 81.71B-OFP2F-R6 | Cover for an empty OFP2 port on the OCC2 carrier module. | 1
| GQK-G30CFACZ | Bundle code (consists of 1 G30 Chassis, 5 fan modules, 2 AC power modules, 19" rack mounting kit). AC power cables are not included in this item and should be ordered separately. | 1
| PS402839MSK310 | CBL PWR AC EU F C13 2.5M | 2
| GSS-G3004110-BZ | G30 SW FP4.1 | 1
| GLS-G30CHMFI-00 | Single slot CHM filler blank | 1
| GKS-G30INKIT-ET | 1x per G30 chassis for installation into 600mm ETSI rack rack. | 1
| GVS-MT8LCSMZ-03 | Breakout cable for OMD96, OMD8, OMD48, and CAD8: G.652 SM interconnection cable, MTP (12p) female to 8xLC, 3 meters. Lower insertion loss compared to GVS-M8LCSMZZ-03 | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 3
XASSIS B.1 | GLS-G30CHM2Z-00 | The sled supports: · up to 40 10G pluggable client interfaces (up to 10x QSFP+ and 10x breakout cable) services: 10GE, OTU2 · up to 10 40G pluggable client interfaces (QSFP+) services: 40GE, OTU3 · up to 4 100G pluggable client interfaces (QSFP28) services: 10GE, OTU4 · up to 2 CloudWave pluggable line interfaces (CFP2-ACO) line signal 100G (DP-QPSK), 150G (8QAM) or 200G (16QAM) Max. total client capacity is 400G/s Max. total line capacity is 400G/s Encryption support. Max. 2 CHM2 sleds per G30 chassis. CHM2 occupies 2 slots, looking from the front of the node either the first two slot from the left (slots #1 and #2) or last two from the right (slots #3 and #4) | 2
| ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 4
| GQK-G30CFACZ | Bundle code (consists of 1 G30 Chassis, 5 fan modules, 2 AC power modules, 19" rack mounting kit). AC power cables are not included in this item and should be ordered separately. | 1
| PS402839MSK310 | CBL PWR AC EU F C13 2.5M | 2
| GSS-G3004110-BZ | G30 SW FP4.1 | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| GKS-G30INKIT-ET | 1x per G30 chassis for installation into 600mm ETSI rack rack. | 3
XASSIS B.2 | 81.71T-O2PAOHLR-R6 | OFP2 PREAMP OSC HIGH CHANNEL COUNT LR (14-26dB) | 2
| ZXS-O2OMD8B1-00 | OFP2 OMD8 Band 1 | 2
| GLS-G30OCC2Z-00 | Carrier module for OFP2 and SFP format pluggable sub- modules (3xOFP2 cage + 2xSFP cage) SFP cages are currently not used | 2
| 81.71B-OFP2F-R6 | Cover for an empty OFP2 port on the OCC2 carrier module. | 2
| GQK-G30CFACZ | Bundle code (consists of 1 G30 Chassis, 5 fan modules, 2 AC power modules, 19" rack mounting kit). AC power cables are not included in this item and should be ordered separately. | 1
| PS402839MSK310 | CBL PWR AC EU F C13 2.5M | 2
| GSS-G3004110-BZ | G30 SW FP4.1 | 1
| GKS-G30INKIT-ET | 1x per G30 chassis for installation into 600mm ETSI rack rack. | 1
| GVS-MT8LCSMZ-03 | Breakout cable for OMD96, OMD8, OMD48, and CAD8: G.652 SM interconnection cable, MTP (12p) female to 8xLC, 3 meters. Lower insertion loss compared to GVS-M8LCSMZZ-03 | 2
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 3
XASSIS A.2 | GLS-G30CHM1G-00 | Low power redesign of CHM1 with encryption support. Supports 100G (QPSK, 7% GFEC), 100G (QPSK, 15% SD FEC) and 200G (8QAM, 200G 15% SD FEC). Interworking with CHM1, CHM1LH, CHM2 and CHM2LH in 100G (QPSK, 15% SD FEC) mode. | 1
| ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 2
| 81.71T-O2PAOHLR-R6 | OFP2 PREAMP OSC HIGH CHANNEL COUNT LR (14-26dB) | 1
| ZXS-O2OMD8B1-00 | OFP2 OMD8 Band 1 | 1
| GLS-G30OCC2Z-00 | Carrier module for OFP2 and SFP format pluggable sub- modules (3xOFP2 cage + 2xSFP cage) SFP cages are currently not used | 1
| 81.71B-OFP2F-R6 | Cover for an empty OFP2 port on the OCC2 carrier module. | 1
| GQK-G30CFACZ | Bundle code (consists of 1 G30 Chassis, 5 fan modules, 2 AC power modules, 19" rack mounting kit). AC power cables are not included in this item and should be ordered separately. | 1
| PS402839MSK310 | CBL PWR AC EU F C13 2.5M | 2
| GSS-G3004110-BZ | G30 SW FP4.1 | 1
| GLS-G30CHMFI-00 | Single slot CHM filler blank | 1
| GKS-G30INKIT-ET | 1x per G30 chassis for installation into 600mm ETSI rack rack. | 1
| GVS-MT8LCSMZ-03 | Breakout cable for OMD96, OMD8, OMD48, and CAD8: G.652 SM interconnection cable, MTP (12p) female to 8xLC, 3 meters. Lower insertion loss compared to GVS-M8LCSMZZ-03 | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 1
MATERIAL AMPLIACIÓ A | ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 1
MATERIAL AMPLIACIÓ B | ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 1
| 81.71T-O2PAOHLR-R6 | OFP2 PREAMP OSC HIGH CHANNEL COUNT LR (14-26dB) | 1
| ZXS-O2OMD8B1-00 | OFP2 OMD8 Band 1 | 1
| GVS-MT8LCSMZ-03 | Breakout cable for OMD96, OMD8, OMD48, and CAD8: G.652 SM interconnection cable, MTP (12p) female to 8xLC, 3 meters. Lower insertion loss compared to GVS- M8LCSMZZ-03 | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 2
MATERIAL AMPLIACIÓ C | ZXS-C2OTSTZZ-00 | CFP2-ACO Generic High Performance LC connector | 2
| 81.71T-O2PAOHLR-R6 | OFP2 PREAMP OSC HIGH CHANNEL COUNT LR (14-26dB) | 1
| ZXS-O2OMD8B1-00 | OFP2 OMD8 Band 1 | 1
| GLS-G30OCC2Z-00 | Carrier module for OFP2 and SFP format pluggable sub- modules (3xOFP2 cage + 2xSFP cage) SFP cages are currently not used | 1
| 81.71B-OFP2F-R6 | Cover for an empty OFP2 port on the OCC2 carrier module. | 1
| GVS-MT8LCSMZ-03 | Breakout cable for OMD96, OMD8, OMD48, and CAD8: G.652 SM interconnection cable, MTP (12p) female to 8xLC, 3 meters. Lower insertion loss compared to GVS- M8LCSMZZ-03 | 1
| ICS-4HR-GRV-1Y+ | Service Package provides TAC, SWS, 4HR Spares Management, and access to the Customer Portal. The package should only be used for Product that is in original Hardware Warranty. Price is per year and the price percentage is calculated against all Product (Hardware and embedded Software) excluding bundles and one-time discounts. | 5
| 255-0077-C0050 | Single Mode fiber: BIF, simplex LC/UPC to simplex LC/UPC with 2mm Jacketing. Length: 50cm. The cable is used for internal connections to connect OMDxx line ports and OFP2 amplifiers. | 5
OPTIQUES INFINERA CONNEXIÓ CLIENT | ZXS-Q8S4ZZZZ-00 | QSFP28 SR4 (100M) Multimode Fiber | 1
| ZXS-QPS4EZZZ-00 | QSFP+ eSR4 (300m) for 40GE <-> 10GE with breakout fiber (w/o cable) | 1
AMPLIACIÓ PLATAFORMA DE GESTIO | TMS-CTENCCCL-KZ | Chorus Transport Essential Class C Shelf | 4