## Lot 12
MODEL BASE DE PREUS
Expedient CSE/AH02/1101396120/25/PO
LOT 12
Empresa:
NIF:
Nota: només cal modificar les cel·les sombrejades en color groc. S'aplica un descompte lineal a tots els elements
Servei manteniments correctiu - Base de Preus
% Rebaixa ofertada
Material |  | CMAT
PHOTOMICROSENSOR,5-24V | €/u | 150 | 150
MEDICAL ETHERNET ISOLATOR 10/100/1000-BASE T | €/u | 756.36 | 756.36
PS,MULTI OUTPUTS,24VX2, 12V, 24VX2 56V,1200W,1U,INHIBIT | €/u | 4724.98 | 4724.98
Veriton - MOTOR,STEPPER 0.9DEG NEMA23, 1.4A, 6MM SHAFT, | €/u | 396.31 | 396.31
MOTOR,STEPPER 1.8DEG NEMA34, 7.7A, 9.1-N.M | €/u | 7633.66 | 7633.66
LINEAR MAGNET STRIP, 1MM POLE, 20MICRON/M, 10X1,3MM | €/u | 544 | 544
Veriton SURFACE MOUNT FUSE, 7.4X3.1, 5A, 125VAC, 125VDC, | €/u | 150 | 150
Veriton SURFACE MOUNT FUSE, 7.4X3.1, 2A, 125VAC, 125VDC, | €/u | 150 | 150
LINEAR RAIL BEARING | €/u | 833.52 | 833.52
6800 HYBRID CERAMIC SILICON-NITRIDE BALL (19 X10 | €/u | 150 | 150
6802 HYBRID CERAMIC SILICON-NITRIDE (24X15X5) | €/u | 150 | 150
BALL BEARINGS 61901-2Z CN S0 WT | €/u | 150 | 150
TIMING BELT A_6R53M073090 | €/u | 150 | 150
TIMING BELT AT10 W16 L5.5M ( POGGI 34H016, T10 WITH | €/u | 150 | 150
BELT 3MR-15 L840 BETA 3 | €/u | 160.88 | 160.88
THERMAL BLANKET | €/u | 358.35 | 358.35
Veriton CABLE, FFC, STANDARD TYPE, 50MM, 40 COND, 0.5 MM | €/u | 150 | 150
CABLE ASSEMBLY CAT 6, 0.5METER WITH RJ45 CONNECTORS. | €/u | 150 | 150
NewVer ECG PATIENT CABLE LN 4 LEAD AHA 10' FOR VERITON | €/u | 1050 | 1050
ECG LEAD WIRES, STD, 4 LEAD SET, AHA, 24", GRABBER FOR | €/u | 600 | 600
Veriton CABLE,ASSEMBLY FFC, FLEX TYPE, 880MM, 41 COND, 0.5 | €/u | 344.48 | 344.48
Veriton CABLE,POWER FFC, 880MM, 14 COND, 2.45 MM PITCH, | €/u | 150 | 150
CABLE A MALE TO MICRO B MALE 2M, USB 2.0, SHIELDED | €/u | 150 | 150
CABLE MODULAR ASSEMBLY, CAT-6, 2M, GRAY, 8P8C, | €/u | 150 | 150
CABLE, FFC, FLEX, 150MM, 50 COND, 0.5 MM PITCH, 0.3 AMP, | €/u | 150 | 150
CABLE, FFC, STANDARD TYPE, 300MM, 30 COND, 0.5 MM PITCH, | €/u | 150 | 150
CABLE, FFC, STANDARD TYPE, 300MM, 10 COND, 0.5 MM PITCH, | €/u | 150 | 150
CABLE, FFC, STANDARD TYPE, 200MM, 10 COND, 0.5 MM PITCH, | €/u | 150 | 150
CABLE, FFC, STANDARD TYPE, 100MM, 10 COND, 0.5 MM PITCH, | €/u | 150 | 150
CABLE,POWER FFC, 400MM, 14 COND, 2.45 MM PITCH, | €/u | 150 | 150
CABLE,POWER FFC, 1800MM, 14 COND, 2.45 MM PITCH, | €/u | 365.61 | 365.61
CABLE,POWER FFC, 2850MM, 14 COND, 2.45 MM PITCH, | €/u | 423.84 | 423.84
CABLE,ASSEMBLY FFC, FLEX TYPE, 420MM, 41 COND, 0.5 MM | €/u | 263.28 | 263.28
CABLE,ASSEMBLY FFC, FLEX TYPE, 1800MM, 41 COND, 0.5 MM | €/u | 504.06 | 504.06
CABLE,ASSEMBLY FFC, FLEX TYPE, 2850MM, 41 COND, 0.5 MM | €/u | 474.75 | 474.75
CABLE MODULAR ASSEMBLY, CAT-6, 5M, BLU, 8P8C, | €/u | 252.38 | 252.38
CABLE ASSEMBLY HDMI-A MALE TO HDMI-A MALE | €/u | 150 | 150
CABLE A MALE TO MICRO B MALE 1', USB 2.0, SHIELDED | €/u | 150 | 150
CABLE MODULAR ASSEMBLY, CAT-6, 10M, BLU, 8P8C, | €/u | 384 | 384
ECG LEAD WIRES, STD, 4 LEAD SET, IEC, 24", GRABBER NON US - | €/u | 375 | 375
COUPLING EKL 2/B/6/6 | €/u | 411.75 | 411.75
NOTEBOOK OPTICAL MOUSE 3000 FOR VERITON | €/u | 287.94 | 287.94
Veriton MONITOR,24" LCD LED | €/u | 2006.13 | 2006.13
RASPBERRYPI3-MODB-1GB RASPBERRY PI 3 MODEL B | €/u | 866.04 | 866.04
UPS,1550VAC, 160VAC TO 294VAC, 47HZ TO 70HZ, RACK 1U, | €/u | 3952.08 | 3952.08
GIGABIT SWITCH , 5 PORTS, 12V | €/u | 323.86 | 323.86
KVM EXTENDER LOCAL AND REMOTE UNITS, DVI, USB, DUAL | €/u | 9116.2 | 9116.2
MONITOR CAPACITIVE TOUCH SCREEN, 10.1" TFT LCD 12V, | €/u | 1622.2 | 1622.2
MONITOR , ULTRA-WIDE STEEL HOUSING SCREEN, 21.5" 12V, | €/u | 2870 | 2870
CTM-500 CARDIAC TRIGGER MODULE, ECG ONLY, 4-LEAD, RS- | €/u | 10816 | 10816
GIGABIT SWITCH 24 PORTS | €/u | 3846.7 | 3846.7
XILINX PLATFORM CABLE USB II | €/u | 1934.4 | 1934.4
VERITON CO57 LINE SOURCE CE MARK1:CO- | €/u | 10000 | 10000
6-81285-01S FILTER, VCT6485 DMS INLET | €/u | 1201.47 | 1201.47
21-05266-01S 2280 X-RAY TUBE FOR VALUE CT SYSTEM | €/u | 134400 | 134400
21-04004-02S ANGLED STATIC CTRL BRUSH ASSY VALUE CT | €/u | 632 | 632
21-05028-01S XFMR TOROID 1KVA ANODE DRIVE WITH | €/u | 10590 | 10590
15-004114S FAN TBAX 230VAC 300CFM 41.4W 6.75X5.92X2.17 | €/u | 1321.49 | 1321.49
152-004467S SNSR IND 24VDC .2A PNP SW OUT NO 3 WIRE CU | €/u | 3125 | 3125
115104S BELT V 6 RIBS 159.5 L .276 T 1.11 W POLYBUT | €/u | 3864 | 3864
10-79203-01S ASSY, COMPUTER, RECONSTRUCTION AND SCAN | €/u | 36620 | 36620
10-78979-01S FAN ASSY CTXX85 GANTRY 220VAC | €/u | 3118.5 | 3118.5
10-78967-01S ASSY, STATIONARY ELECTRONICS POWERLINK | €/u | 49730.84 | 49730.84
10-78936-01S ASSY, HIGH VOLTAGE MODULE, CTR-2280 XRAY | €/u | 38000 | 38000
10-78831-01S DISK DRIVE CONTROLLER DESTINY, | €/u | 8505 | 8505
10-78783-02S SPARE, POWER DISTRIBUTION UNIT WITH EOFF | €/u | 35644.19 | 35644.19
10-78663-01S ENCODER ASSY, LARGE BORE | €/u | 7245 | 7245
10-78470-01S FAN ASSY VCT6485 DMS | €/u | 10500 | 10500
10-78442-01S SHIPPING CONFIG, VCT6485 DMS ASSEMBLY | €/u | 249900 | 249900
10-78434-01S TRACKING COLLIMATOR CT6485 | €/u | 40040 | 40040
10-77851-02S ASSY, HSDL RECEIVER, REAR, LARGE RINGS | €/u | 5640 | 5640
10-77851-01S ASSY, HSDL RECEIVER, FRONT, LARGE RINGS | €/u | 5640 | 5640
10-77833-01S ENCODER FENCE READ HEAD ASSEMBLY, LARGE | €/u | 4725 | 4725
10-77795-02S BD ASSY, THREE TRACK ROTOR DATA LINK | €/u | 5355 | 5355
10-77795-01S BD ASSY, THREE TRACK ROTOR DATA LINK | €/u | 5512.5 | 5512.5
10-77724-01S ASSY, STATOR, POWERLINK LARGE RING | €/u | 29037.72 | 29037.72
10-77723-01S ASSY, ROTOR, POWERLINK LARGE RING | €/u | 37853.71 | 37853.71
10-78441-01S BD ASSY PDU CONTROL, TESTED, CTXX85 | €/u | 3628.04 | 3628.04
10-75450-03S INTERNAL ROTOR CONTROL ASSY (IRCA) DUAL FI | €/u | 16054.5 | 16054.5
10-72825-03S SPARE, ASSY, AUXILIARY BOX, POWERLINK VCT | €/u | 14662.87 | 14662.87
10-78450-04S BD ASSY, Z OPTICAL OUT LIMIT SW BOARD, T | €/u | 968 | 968
10-78450-03S BD ASSY, Z OPTICAL IN LIMIT SW BOARD, TE | €/u | 1008 | 1008
10-78450-02S BD ASSY, Z OPTICAL REFERENCE SW BOARD, T | €/u | 966 | 966
10-79725-01S BD ASSY, PATIENT TABLE CATCHER CONTROL, | €/u | 9086.05 | 9086.05
10-79725-02S BD ASSY, PATIENT TABLE TRANSLATE | €/u | 7906.5 | 7906.5
10-79758-01S BD ASSY, PATIENT TABLE MAIN CONTROL , | €/u | 7245 | 7245
VERITON LEG REST CUSHION | €/u | 1280 | 1280
CUSTOM TABLE PAD L110 X W171 X H05 | €/u | 3845.47 | 3845.47
VERITON TABLE PAD WITH SIDE FLAPS - 110 X 17.1 X 0.5 X 3.5 | €/u | 4422 | 4422
77-64188 CT CASTER (DOLLIES) | €/u | 5190 | 5190
10-80487-01 CT GANTRY ALIGNMENT JIG | €/u | 3750 | 3750
10-80490-01 CT GANTRY ALIGNMENT INDICATOR JIG | €/u | 13220.6 | 13220.6
10-78387-01 SHIP.CONFIG, VCT1685 DMS ASSEMBLE CT 16 SLICE | €/u | 204750 | 204750
21-05854-01S GS-5177 X-RAY TUBE FOR VALUE CT SYSTEM 16 S | €/u | 160500 | 160500
103-128901-01S FRU. MOTOR AC SERVO BRLESS 16A | €/u | 11985.12 | 11985.12
10-78542-02S FRU. CBL ASSY STRING POT 30" W/CONN HTBL28 | €/u | 3108 | 3108
10-78542-03S FRU. CBL ASSY STRING POT 15" W/CONN HTBL28 | €/u | 3906 | 3906
6-75860-01S FILTER FOAM AIR INLET VCT1685 DMS | €/u | 1992 | 1992
10-74823S-01 VCT1600 FAN ASSY SPARE KIT | €/u | 1974 | 1974
21-05025-02 ANTISTATIC END BRUSH SMALL | €/u | 648 | 648
10-79281-02S FRU, PATIENT COMMUNICATION ASSY, WITH | €/u | 10290 | 10290
10-79972-01S ASSEMBLY, GANTRY CONTROL BOX | €/u | 13124 | 13124
10-79535-03S FRU STATOR CONTROL ASSY | €/u | 11250 | 11250
21-06143-01S FRU X-RAY WINDOW CTXX85 | €/u | 9924 | 9924
10-79204-01S ASSY, COMPUTER, RECON AND SCAN CONTROL | €/u | 27249 | 27249
10-78936-04S ASSY, HIGH VOLTAGE MODULE, GS-5177 X60KW | €/u | 41915 | 41915
10-73563-02S ROTOR CONTROL ASSY CT1685 (RCA) | €/u | 8094 | 8094
10-41936S-1 IDLER WHEEL ASSY AN6500 | €/u | 2272 | 2272
10-78539-01S CBL ASSY HORIZ ENCODER W/CONNECTOR CTXX85 W815 | €/u | 2736 | 2736
10-80483-01S CBL ASSY LIKA ENCODER WITH CONN HTBL28 | €/u | 5364 | 5364
117877S ENCODER TAPE 1330MM, 35UM/M FERRITE MATL SS | €/u | 584 | 584
21-05891-01S GEAR BX PREC 5:1 | €/u | 5838 | 5838
21-06010-01S PINION, HELICAL TOOTH | €/u | 8128 | 8128
21-06013-01S CLUTCH, 10MM BORE, 24VDC | €/u | 3630 | 3630
21-06039-01S CLUTCH, 15NM, 24VDC, 12MM BORE | €/u | 4260 | 4260
21-06052-01S PLANETARY GEARBOX 35:1 HELICAL | €/u | 10722 | 10722
21-06148-01S STAGE, VERTICAL, 353 MM STROKE | €/u | 8052 | 8052
21-119344-01S MOTOR, SERVO, FRAME SIZE 80, 48VDC | €/u | 6150 | 6150
21-119593-01S GEARBOX, PLANETARY, 20:1 RATIO | €/u | 10254 | 10254
6-83171-01S MOTOR MOUNT, HORIZONTAL TRANSLATE | €/u | 3120 | 3120
6-119640-01 FOAM PHANTOM HOLDER | €/u | 968 | 968
10-78959-02 DAILY QA PHANTOM CT64 | €/u | 11256 | 11256
10-80036-02 CBL ASSY SIG UP LIMIT CT CATCHER HTBL28 | €/u | 272 | 272
10-80018-01 CBL ASSY GND CATCHER COLUMN HTBL28 W848 | €/u | 240 | 240
10-80036-01 CBL ASSY SIG DOWN LIMIT CT CATCHER HTBL28 | €/u | 280 | 280
10-80027-01 CBL ASSY PWR DC NM TO CT CATCHER HTBL28 | €/u | 640 | 640
10-80366-02 CBL EXTENSION STRING POT 12 INCH HTBL28 | €/u | 328 | 328
10-80025-01 CBL ASSY SIG COMM NM TO CT CATCHER HTBL28 | €/u | 496 | 496
10-78542-03 CBL ASSY STRING POT 15 INCH WITH CONN | €/u | 3904 | 3904
10-80366-01 CBL EXTENSION STRING POT 30 INCH HTBL28 | €/u | 344 | 344
10-80024-01 CBL ASSY SIG COMM TO NM CATCHER HTBL28 | €/u | 448 | 448
10-80026-01 CBL ASSY PWR DC TO NM CATCHER HTBL28 W826 | €/u | 528 | 528
10-80035-01 CBL ASSY SIG DOWN LIMIT NM CATCHER HTBL28 | €/u | 328 | 328
10-80035-02 CBL ASSY SIG UP LIMIT NM CATCHER HTBL28 | €/u | 328 | 328
105-118772-01 CBL ASSY TERMINATOR CATCHER BD HTBL28 | €/u | 384 | 384
10-78648-01 CBL ASSY SYS PDU 220VAC TO TABLE CTXX85 | €/u | 1872 | 1872
10-78649-01 CBL ASSY SYS GND GANTRY TO TABLE CTXX85 | €/u | 126.24 | 126.24
10-78650-02 CBL ASSY SIG SCB J4 TO TABLE J4 HTBL28 W105 | €/u | 608 | 608
10-78637-01 CBL ASSY PWR PDU CB1 TO K1 CTXX85 W900 | €/u | 2656 | 2656
10-78638-01 CBL ASSY PDU J1 LOW PWR INPUT CTXX85 W901 | €/u | 592 | 592
10-78639-01 CBL ASSY PDU J9 220VAC INPUT CTXX85 W902 | €/u | 784 | 784
10-78640-01 CBL ASSY SIG PDU J6 TO DRB CTXX85 W903 | €/u | 360 | 360
10-78641-01 CBL ASSY PDU ON OFF SWITCHES CTXX85 W904 | €/u | 552 | 552
10-78642-01 CBL ASSY PWR PDU J13 220V TO UPS CTXX85 | €/u | 536 | 536
10-78643-01 CBL ASSY PWR PDU J16 24VDC PS CTXX85 W906 | €/u | 288 | 288
10-78644-01 CBL ASSY PWR PDU J15 TO FAN CTXX85 W907 | €/u | 304 | 304
10-78550-01 CBL ASSY PDU FAN WITH CONNECTOR CTXX85 | €/u | 624 | 624
10-78690-01 CBL ASSY PDU GROUND CTXX85 W909 | €/u | 150 | 150
10-78690-02 CBL ASSY PDU GROUND CTXX85 W910 | €/u | 150 | 150
10-78691-01 CBL ASSY PDU GROUND STRAP DOOR CTXX85 | €/u | 150 | 150
10-78692-01 CBL ASSY SIG PDU ENET TO SCRC CTXX85 W912 | €/u | 248 | 248
FRU, CABLE ASSY, PWR AUX TO HVC W400 | €/u | 1920 | 1920
FRU, CABLE ASSY PWR AUX TO DCS DMS CTXX85 W401 | €/u | 2288 | 2288
FRU, CABLE ASSY PWR AUX TO COLL W402 | €/u | 360 | 360
FRU, CABLE ASSY PWR TCB TO DCS W403 | €/u | 768 | 768
FRU, CABLE ASSY PWR TCB TO RESISTIVE LOAD W404 | €/u | 1528 | 1528
FRU, CABLE ASSY PWR 24VDC RCB TO DL CTXX85 W406 | €/u | 640 | 640
FRU, CABLE ASSY, SIG AUX TO HVC FDBK W407 | €/u | 768 | 768
FRU, CABLE ASSY SIG TCB TO HVC CAN W408 | €/u | 560 | 560
FRU, CABLE ASSY SIG SOG CAN TO HVC CTXX85 W409 | €/u | 504 | 504
10-78710-01 CBL ASSY PWR AUX TO XRT ANODE CTXX85 W410 | €/u | 3792 | 3792
FRU, CABLE ASSY SIG HVC TO DCS CAN W411 | €/u | 336 | 336
FRU, CABLE ASSY SIG HVC TO DCS IO W412 | €/u | 840 | 840
FRU, CABLE ASSY, SIG DCS TO TICK W413 | €/u | 1016 | 1016
10-79027-01 CBL ASSY GND DISK TO BRUSH CTXX85 W415 | €/u | 150 | 150
FRU, CABLE ASSY, SIG DCS TO COLL CTRL W416 | €/u | 704 | 704
FRU, CABLE ASSY, SIG RCB TO LASER W418 | €/u | 384 | 384
10-79214-01 CBL ASSY HEAT EXCH TO TUBE AND FANS CTXX85 | €/u | 800 | 800
21-04401-01 PROBE, AMBIENT TEMP THERMISTOR RING TERM | €/u | 3520 | 3520
21-05416-01 CBL ASSY, DUPLEX FIBER LC-LC 90 INCH W430 | €/u | 424 | 424
10-78697-01 CBL ASSY GND GANTRY FRAME TO TILT FRAME | €/u | 296 | 296
10-78706-01 CBL ASSY PWR ROT DRIVE CTXX85 W263 | €/u | 1299.12 | 1299.12
10-78707-01 CBL ASSY SIG ROT DRIVE CTXX85 W264 | €/u | 1360 | 1360
10-78708-01 CBL ASSY PWR LF2 TO XENUS CTXX85 W262 | €/u | 424 | 424
10-78709-01 CBL ASSY SIG PWR SCB TO SENSORS XENUS | €/u | 1912 | 1912
10-78906-01 CBL ASSY SIG SCB TO TFBB CTXX85 W281 | €/u | 640 | 640
10-78712-01 CBL ASSY SIG ROT CTRL SCB J17 TO XENUS J8 | €/u | 664 | 664
10-78859-01 CBL ASSY PWR SCB 24VDC TO REC BD CTXX85 | €/u | 384 | 384
10-78905-01 CBL ASSY PWR FCB TO LASERS 24VDC CTXX85 | €/u | 1058.24 | 1058.24
10-78923-01 CBL ASSY PWR FAN RIGHT CTXX85 W272 | €/u | 496 | 496
10-78923-02 CBL ASSY PWR FAN LEFT CTXX85 W273 | €/u | 489.12 | 489.12
10-78985-01 CBL ASSY PWR 24VDC PS2 TO SCB CTXX85 W277 | €/u | 760 | 760
10-78987-02 CBL ASSY PWR SCB TO TILT ACTUATOR CTXX85 | €/u | 349.76 | 349.76
21-05468-01 CBL ASSY SIG SCB J8 TO INVERTER J8 CTXX85 W259 | €/u | 449.12 | 449.12
21-05469-01 CBL ASSY SIG SCB J7 IO TO INV J7 CTXX85 W260 | €/u | 542.4 | 542.4
10-79017-01 CBL ASSY SIG INV TO SOG CTXX85 W261 | €/u | 480 | 480
10-79019-01 CBL ASSY SIG CAN3 SCB TO XENUS CTXX85 W213 | €/u | 304 | 304
10-79020-01 CBL ASSY FAN CTRL TO SENSOR W270 | €/u | 352 | 352
10-79020-02 CBL ASSY FAN CTRL TO SENSOR W271 | €/u | 208 | 208
10-79023-01 CBL ASSY SIG FIBER SCB J3 TO PANEL CTXX85 | €/u | 528 | 528
105-125148-01 CBL ASSY PWR ROT LOAD RESISTOR CTXX85 | €/u | 1688 | 1688
10-79195-01 CBL ASSY XENUS RGEN TO TB3 CTXX85 W265 | €/u | 496 | 496
10-79237-01 CBL ASSY CAN J7 CONN PANEL TO XENUS J7 W268 | €/u | 288 | 288
10-78693-01 CBL ASSY PWR 24VDC PCB TO XENUS CTXX85 | €/u | 280 | 280
10-78694-01 CBL ASSY PWR 24VDC DL TO DL CTXX85 W291 | €/u | 280 | 280
10-78695-01 CBL SET SCB ESTOP ENET CTXX85 W278, W279, | €/u | 2368 | 2368
10-78696-01 CBL SET SCB AUDIO ENET TO DISPLAY CTXX85 | €/u | 1304 | 1304
10-78699-01 CBL ASSY SIG SCB TO RF KIC/FCB CTXX85 W275 | €/u | 296 | 296
10-78700-01 CBL ASSY RF KIC TO FCB CTXX85 W276 | €/u | 489.12 | 489.12
10-78701-01 CBL ASSY SIG SCB TO RR KIC CTXX85 W293 | €/u | 337.52 | 337.52
10-78702-01 CBL ASSY SIG RR KIC TO LR KIC CTXX85 W294 | €/u | 784 | 784
10-78703-01 CBL ASSY SIG LR KIC TO LF KIC CTXX85 W295 | €/u | 696 | 696
10-78704-01 CBL ASSY SIG SCB TO DISPLAY BD CTXX85 W296 | €/u | 502.4 | 502.4
10-78705-01 CBL ASSY SIG DISPLAY TO AUDIO CTXX85 W297 | €/u | 329.52 | 329.52
21-05458-01 CBL ASSY, DUPLEX FIBER LC-LC W240 | €/u | 488 | 488
21-05459-01 CBL ASSY, DUPLEX FIBER LC-LC W241 | €/u | 504 | 504
10-78645-01 CBL ASSY PDU TO GANTRY AC MAIN AND GND 30 | €/u | 5660 | 5660
10-78646-01 CBL ASSY SYS PWR PDU J9 J10 220VAC TO GANTRY | €/u | 3468 | 3468
10-78647-01 CBL ASSY SYS PDU TO GANTRY CAN AND ENET | €/u | 4764 | 4764
10-78650-01 CBL ASSY SIG SCB J4 TO TABLE J4 CTXX85 W105 | €/u | 608 | 608
10-78651-01 CBL ASSY PDU TO CONSOLE 220VAC CTXX85 W106 | €/u | 2168 | 2168
10-78652-01 CBL ASSY SIG PDU TO CONSOLE ENET 50 FT | €/u | 3648 | 3648
10-78653-01 CBL ASSY SIG CONSOLE TO GANTRY ESTOP AUDIO | €/u | 3594 | 3594
10-78861-01 CBL ASSY PWR CONSOLE CTXX85 W109 | €/u | 2984 | 2984
PCAN COMMUNICATION JIG FOR VERITON TABLE | €/u | 3092.16 | 3092.16
USB TO RJ11 CABLE JIG FOR VERITON CT COPLEY CONTROLLER | €/u | 195.84 | 195.84
MICRO SD READER AND CARD | €/u | 150.64 | 150.64
PCAN-USB CABLE JIG FOR VERITON | €/u | 2249.84 | 2249.84
UNIFLASH USB JTAG EMULATOR FOR VERITON | €/u | 603.52 | 603.52
VERITON CATCHER WHEELS ADJUSTING BRACKET | €/u | 612.95 | 612.95
VERITON CT SERVICE CRANE MECHANICAL 100 KG LMT | €/u | 18182.68 | 18182.68
VERITON-CT CUSTOMIZED WRENCH PIN SPANNER | €/u | 1235.47 | 1235.47
6-123711-01S FIXTURE, VCT6400 WEDDING CAKE PHANTOM | €/u | 40687.5 | 40687.5
6-123712-01S FIXTURE, VCT6400 WEDDING CAKE PHANTOM | €/u | 37407.5 | 37407.5
10-79512-01S FRU, 16 SLICE NON-LINEAR PHANTOM | €/u | 27261 | 27261
103-125544-01S FRU, ASSY, VERTICAL DRIVE CONTROLLER | €/u | 8100 | 8100
110792S FRU, PWR SPLY AC-DC 85-264VAC IN 24VDC OUT 47- | €/u | 3468 | 3468
110820S FRU, PWR SPLY AC-DC 85-264VAC IN 48V13A OUT MED | €/u | 3468 | 3468
10-78959-01S DAILY QA PHANTOM CT16 | €/u | 10404 | 10404
FLTR NON-PCB LINE 30A 250V 1PH PNL MT (CT HV FILTER) | €/u | 1320 | 1320
21-127331-01S - FRU, MTR SERVO 60VDC 60MM W/ ENCODER | €/u | 6144 | 6144
10-78246-03S BD ASSY, PATIENT TABLE UPPER CNTRL BD, | €/u | 9420 | 9420
Accessories-VERITON Head Holder | €/u | 11658 | 11658
VERITON RECON FOR SERVICE DELL-3930 WITH RT6000 | €/u | 17625.3 | 17625.3
VERITON MAIN STATION FOR SERVICE DELL-5820 | €/u | 15504 | 15504
LMB BOARD, BOARD ASSEMBLY | €/u | 2793.99 | 2793.99
LMB BOARD, BOARD ASSEMBLY | €/u | 3197.28 | 3197.28
LCB BOARD, BOARD ASSEMBLY | €/u | 725.48 | 725.48
LCB BOARD, BOARD ASSEMBLY | €/u | 877.49 | 877.49
SENC BOARD ASSY | €/u | 169.77 | 169.77
LENC BOARD ASSY | €/u | 197.84 | 197.84
L-SWITCH BOARD ASSY | €/u | 150 | 150
L-SWITCH BOARD ASSY | €/u | 150 | 150
MPB BOARD ASSY | €/u | 2283.03 | 2283.03
GCB BOARD ASSY | €/u | 2679.83 | 2679.83
GCB BOARD ASSY | €/u | 3689.23 | 3689.23
HVCD8R, BOARD ASSEMBLY | €/u | 4273.38 | 4273.38
DPS BOARD ASSY | €/u | 441.06 | 441.06
TIB BOARD ASSY | €/u | 517.13 | 517.13
MSC BOARD FOR VERITON | €/u | 10250 | 10250
EMERGENCY STOP ASSEMBLY | €/u | 3880 | 3880
MOTION UNIT ASSY COLUMN | €/u | 3826.86 | 3826.86
PSD ASSY | €/u | 1914.96 | 1914.96
LINEAR UNIT ASSY | €/u | 12781.28 | 12781.28
CAPACITIVE COVER ASSY | €/u | 2509.76 | 2509.76
R-PI OF PANEL FOR OP PANEL LEFT | €/u | 573.44 | 573.44
LASER BRACKET ASSY 1 | €/u | 1470 | 1470
LASER BRACKET ASSY 2 | €/u | 1401.12 | 1401.12
FLAT BELLOWS SUB-ASSEMBLY | €/u | 1768.56 | 1768.56
HYBRID TABLE, COVER ASSY, LEFT | €/u | 5000 | 5000
CABLE SAFETY | €/u | 270.34 | 270.34
CALIBRATION ARM | €/u | 8474.48 | 8474.48
LASER HOLDER 201807 | €/u | 658 | 658
DQC TUBE FOR LIQUID | €/u | 2968 | 2968
DQC TUBE FOR ROD | €/u | 3840 | 3840
FILLABLE POINT SOURCE TUBE ASSY | €/u | 3768.8 | 3768.8
NM INTAKE FILTER GRILL ASSY | €/u | 5089.5 | 5089.5
MAIN DOOR GAS SPRING SUB ASSY FORCE 700N | €/u | 621.28 | 621.28
MICRO SD CARD WITH IMAGE FOR VERITON INFO SCREEN | €/u | 150 | 150
MICRO SD CARD WITH IMAGE FOR VERITON LEFT SCREEN | €/u | 150 | 150
MICRO SD CARD WITH IMAGE FOR VERITON RIGHT SCREEN | €/u | 150 | 150
TABLE BACK PSD COVER ASSEMBLY | €/u | 11852 | 11852
REDLEN CZT MODULE FOR SERVICE - VERITON | €/u | 9600 | 9600
CABLE,ELECTRONIC POWER, FORM POWER SUPPLY TO MPB/J3 | €/u | 297.1 | 297.1
CABLE,POWER, FORM POWER SUPPLAY TO MPB J6 | €/u | 332.41 | 332.41
CABLE,LASER LINE ASSY | €/u | 236 | 236
CABLE,POWER, GCB J28 TO GANTRY FAN/LU | €/u | 120.7 | 120.7
CABLE,POWER, GCB J22 TO GANTRY FAN /RU | €/u | 120 | 120
CABLE,POWER, GCB J37 TO GANTRY FAN /LD | €/u | 120 | 120
CABLE, MOTION-STOP RL, GCB J35 | €/u | 1240 | 1240
CABLE,MOTION POWER, FORM MSC J52 TO MPB J5 | €/u | 409.74 | 409.74
CABLE,ELECTRONIC POWER, FORM MSC J55 TO MPB J4 | €/u | 493.12 | 493.12
CABLE,POWER, MPB/J9 TO LASERS | €/u | 224 | 224
CABLE, MOTION-STOP FR, GCB J32 | €/u | 1240 | 1240
CABLE,POWER, 904064-01 TO X & Y LASER | €/u | 144.32 | 144.32
CABLE, MOTION-STOP FL, GCB J36 | €/u | 1240 | 1240
CABLE, MOTION-STOP RR, GCB J34 | €/u | 1240 | 1240
CABLE, COLUMN FAN SPEED CONTROL TO LMB/J13/J14 | €/u | 228 | 228
CABLE,GND FROM HOSPITAL WALL TO GANTRY | €/u | 384 | 384
CABLE, 12V POWER,FROM GCB/J27/J29 TO DPS/J6 | €/u | 168 | 168
CABLE ASSY, FAN 172X50.8MM, TO GCB/J28/J22/J37/J42 | €/u | 1804.72 | 1804.72
CABLE,LASER CROSS ASSY | €/u | 256 | 256
CABLE,POWER 12V, DPS/J15 TO LEFT SCREEN | €/u | 147.93 | 147.93
CABLE,POWER 12V, DPS/J14 TO LARGE SCREEN | €/u | 135.12 | 135.12
CABLE,POWER 12V, DPS/J13 TO RIGHT SCREEN | €/u | 196 | 196
CABLE,POWER 12V, DPS/J16 TO ETH-HUB | €/u | 135.12 | 135.12
CABLE, MOLDED, D-TYPE 25M, GCB/J4 TO TABLE CONTROLLER | €/u | 120 | 120
CABLE,AC POWER,FROM PDU TO GANTRY | €/u | 360.12 | 360.12
CABLE, BNC ECG, TIB/J3 TO GCB/J8 | €/u | 216 | 216
CABLE, MOTION-STOP EXTENTION GCB/J35 TO 9040459-02 | €/u | 328.4 | 328.4
CABLE, MOTION-STOP EXTENTION GCB/J34 TO 9040468-02 | €/u | 328 | 328
CABLE, 12V POWER,FROM FRONT DPS/J13 TO REAR DPS/J6 | €/u | 248 | 248
CABLE, MOTION-STOP CT/GCB TO NM GCB/J39 | €/u | 236.8 | 236.8
CABLE, FLAT CT, NM TO TABLE | €/u | 337.48 | 337.48
CABLE, TABLE BACK SAFETY SWITCH, TO CABLE 9040514-01 | €/u | 252 | 252
CABLE, TABLE FRONT SAFETY SWITCH, TO CABLE 9040514-01 | €/u | 312.32 | 312.32
CABLE, TABLE DOWN SAFETY SWITCH, TO SAFETY CABLE | €/u | 318.48 | 318.48
CABLE, TABLE SAFETY CABLE MAIN BOARD TO DOWN PSD | €/u | 150 | 150
CABLE, MOTION-STOP JUMPPER GCB/J41 | €/u | 152 | 152
CABLE,GND FROM CT PDU TO VRITON CABINET | €/u | 188 | 188
CABLE, POWER FROM SWITCH TO CONNECTOR INLET | €/u | 150 | 150
CABLE,POWER, GCB J42 TO GANTRY FAN /RD | €/u | 150 | 150
CABLE, MOTION-STOP EXTENTION GCB/J40 TO 9040495-02 | €/u | 177.93 | 177.93
CABLE, MOLDED, D-TYPE 25PIN 5M, NM GCB TO TABLE | €/u | 505.12 | 505.12
CABLE POWER 110V,FROM MONITOR TO HOSPITAL WALL | €/u | 150 | 150
CABLE POWER 110V,FROM KVM TO HOSPITAL WALL | €/u | 150 | 150
CABLE POWER 110V,FROM MIM PC TO HOSPITAL WALL | €/u | 150 | 150
CABLE,LAN MIM PC TO HOSPITAL WALL | €/u | 150 | 150
CABLE, TABLE HANDEL OPTOCOUPLER | €/u | 124 | 124
CABLE, IVY C-500 TO TABLE CABLE | €/u | 189.44 | 189.44
CABLE, GANTRY MOTOR JUMPPER | €/u | 150 | 150
CABLE, HUMID AND TEMP. SENSOR TO GCB/J25 | €/u | 267.36 | 267.36
CABLE, BNC 1M, GCB/J8 TO PANEL | €/u | 129.6 | 129.6
10-78645-02 CABLE,POWER CT PDU TO GANTRY 15M | €/u | 5845.62 | 5845.62
CABLE, HUMID AND TEMP. EXTENSION GCB/J25 | €/u | 153.47 | 153.47
VERITON ON SITE FLAT CABLES AND FUSES KIT | €/u | 426.4 | 426.4
VERITON TABLE EXTENDER SET | €/u | 8908 | 8908
SERVICE KIT BEARING UPGRADE FOR VERITON CTS LINEAR UNIT | €/u | 1559.84 | 1559.84
PATIENT WEIGHT HAZARD | €/u | 150 | 150
LABEL TABLE RULER 1 | €/u | 146.52 | 146.52
LABEL VERITON TABLE RULER 2 | €/u | 262.12 | 262.12
GANTRY BUMPER RUBBER | €/u | 150 | 150
BACK SHEILD CLAMP, COLUMN 8X1 | €/u | 150 | 150
HYBRID TABLE, FRONT PSD COVER | €/u | 960 | 960
SECURING NUT FOR TUBES | €/u | 136.58 | 136.58
INTAKE AIR FILTER, NM | €/u | 232 | 232
GUARD FOR FLAG | €/u | 1480 | 1480
% Rebaixa ofertada
Mà d'obra |  | CMAT
1h presencial de tècnic especialista | €/u | 300 | 300