## Material fungible
MATERIAL FUNGIBLE PER A INSTRUMENTACIÓ PERKIN ELMER
REFERÈNCIA | DESCRIPCIÓ PRODUCTE | PREU UNITARI (€)
9902123 | Hyperskimmer o-ring
9908585 | Red/Red 1,14 mm i.d. PVC Pk/12
9908587 | Black/Black 0,76 mm i.d. PVC Pk/12
9995098 | Spectrometer Air Filter
B0018283 | 1 m x 5 mm ID, No Fittings
B0048139 | PVC Rinse Liquid Feed Tube - 3X1 TR 75 SHORE
B0066549 | Quartz Window
B0070126 | Silicone Tubing 3 mm i.d., 1 m NO 03015
B0191058 | PTFE TUBING (110mm)
B0191059 | PTFE TUBING (700mm)
B0191060 | PTFE TUBING (1000mm)
B0193161 | BL-YE-BL 1.52 MM ID Tubing Pkg. 12
B0193342 | ADAPTADOR/D=1,8
B0193873 | ADAPTER F CPL.
B0194048 | 200UL SAMPLE LOOP
B0194049 | 500UL SAMPLE LOOP
B0196704 | CONNECTION PIECE
B0196850 | ADAPTERC/D=4,0
B0196857 | ADAPTERE/D=6,0
B0196882 | CONECTOR DE TUBO PARA FIAS-400MS
B0198097 | PTFE TUBING (300mm)
B0198201 | T-PIECED=3,5-4,5
B0199035 | T-PIECED=1,5-2,5
B0199233 | CONECTOR ESPECIAL 2
B0506716 | TUBING ADAPTER B
B0507791 | CARGADOR-REPUESTO 2 TUBO POR BOMBA
B0507792 | MAGAZINE-SPARE 1 TUBE PER PUMP
B0507918 | TUBING ADAPTER K
B0507919 | ADAPTADOR DE TUBO M
B0507920 | TUBING ADAPTER L
B0507957 | MIXING/SEPARATOR UNIT
B0507959 | SEPARADOR GAS/LIQUIDO CON MEMBRA/FILTRO
B0507962 | MIXING BLOCK (CHEMIFOLD/TM) TYPE 2
B0508306 | PTFE MEMBRANE PK/50
B0508310 | 3,18 MM DI PAQUETE NEGRO/BLANCO/NEGRO 12
B0509095 | VALVE ASSY 8 PORT FIAS
B0510370 | CELL BODY-FIMS
B3000274 | HG ABSORBER
B3001770 | CAPILLARY W TUBE W/1 CONNECTOR
B3140391 | Ir 1,000 µg/mL10% HCL ICP 50 mL
B3140721 | Purple/white/purple 2,79 mm ID Pk/6
B3140730 | Red/red/red 1,14 mm ID Pharm tub Pk/6
N0371505 | Nut-PNY2 Capillary Gland
N0770336 | Quick Disconnect Tubing for 2000/4000
N0770358 | GemCone Low-Flow Nebulizer
N0770438 | O-Ring Kit for 2000/4000 Injector
N0775220 | Repl. Air Filter for Optima 2000/4000
N0776014 | Washer-jaz injector Adapter
N0776052 | Cyclonic Spray Chamber 2/4/5/7x00
N0776200 | Chiller Coolant Mix 30 Plus-Five ½ Gal
N0777707 | MeinhardType K1 Nebulizer
N0780130 | Quartz Torch 1-Slot Optima 8x00
N0780437 | O-R ing Kit for Adjustable Torch 8x00
N0781014 | Alumina Injector 2.0 mm ID Optima 8x00
N0781097 | Copper Tape for Optima 8x00 (50 pcs)
N8145005 | Mist Eliminator Kit SV40 Roughing Pump Exhaust Filter
N8146005 | Dual ICP-MS Filter H2O use with support N8146004
N8152136 | Air Filter Card Cage Blower
N8152465 | Air Filter Rear Plenum
N8152472 | Quartz Torch Fixed 2.0 mm Injector Blue
N8152476 | o-ring KIT torch mount viton
N9300174 | Mercury 1000 µg/ml 10% HNO3 Pure 100mL
N9300281 | Quality Control Std, 21 Elements 125ml
W1024319 | O-ring Torch Cassette Plasma Aux Teflon Light Blue 1/4 inch
W1026356 | Nickel Skimmer Cone for NexION
W1033612 | Nickel Sampler Cone for NexION
W1033995 | HyperSkimmer Cone for NexION
W1040148 | Gasket Sampler
Despeses enviament